Beginning with version 2.3.0, MSC-LIMS' System Configuration screen on the Admin menu includes a new Options tab to support special configuration and customization options for site-specific features and to support future customization/configuration options.  These options are saved in LimsData's MiscellaneousList table with the ListID field set to 'SysCfg.'  A record's Option, Value and Data fields are saved to MiscellaneousList fields ListText, ListNumber and ListMemo, respectively.

Although other purposes may surface, the general design goal of this feature is to allow LimsCode form and report objects to look for specific SysCfg records in OnOpen event procedures to alter a specific form, report, or control property.

The following summary lists the options grouped by category for quick reference.  A detailed list of each option follows the summary.

Sample ID Pick Lists

See the following options to change the default column data listed in sample ID pick lists for various MSC-LIMS screens:

frmAnalyticalBatchEdit.cbxSampleID.Tag

frmSampleContainerLabels.cbxSampleID.Tag

frmSampleLogin.cbxSelectForEdit.Tag

frmSampleResultsSetup.cbxSelectForEdit.Tag

frmSampleResultsQCSetup.cbxSelectForEdit.Tag

Following is a list of the options currently supported sorted alphabetically by Option field value.  Each option includes a description of its purpose, required Value or Data field setting, and the initial MSC-LIMS version in which the option was first available.

## frmAnalyticalBatchEdit.cbxSampleID.Tag

Purpose:	Allow customizing of the Edit Analytical Batch screen's sample ID pick list columns by specifying other sample characteristics or site-specific custom Sample table fields.  See knowledge base article How to Change a Sample Pick List's Column Contents for more information.

Initial Version:	2.3.0

Value:	Not used

Data:	The Tag property for cbxSampleID which includes the PopulateSampleListSQL token followed by the SQL statement used to populate the five-column Combo Box.  For example, the following Data field contents replaces the default Sampler column with Customer.Name:

PopulateSampleListSQL=Select SampleID, Project.Name, Location.Name, Customer.Name, Completed From qrySampleListStandard;

## frmResultsByAnalyteSetup.cbxDisplayField.RowSource

Purpose:	Allow site-specific custom Sample table fields to be added to the Display pick list on the results by analyte setup screen.  The Form_Open event of frmResultsByAnalyteSetup sets the RowSource property of cbxDisplayField to the contents of the Data field if this SysCfg option exists. See knowledge base article How to Add Fields to the Results by Analyte Display Pick List for more information.

Initial Version:	2.3.0

Value:	Not used

Data:	The row source for cbxDisplayField's two-column  value list row source type where the first column is the field name displayed, and the bound second column is a qrySampleSummary field.  For example, the following Data field contents includes the default cbxDisplayfield RowSource with an added Sample.Description custom field:

Collected Date;CollectedDate;Collected Time;CollectedTime;Customer;Customer.Name;Customer's Sample ID;CustomerSampleID;Description;Description;Location;Location.Name;Login Date;AddedDate;Project;Project.Name;Sample Type;SampleType.Name;Sampler;Sampler

## frmSampleBatchLoginSummary.frmSampleBatchLoginSummaryDatasheet.SourceObject

Purpose:	Allow custom fields to be added to the batch login summary view screen by replacing the datasheet subform with a custom version.

Initial Version:	3.1.0

Value:	Not used

Data:	The SourceObject property for frmSampleBatchLoginSummary’s subform control frmSampleBatchLoginSummaryDatasheet.

## frmSampleContainerLabels.cbxSampleID.Tag

Purpose:	Allow customizing of the Sample Container Labels screen's sample ID pick list columns by specifying other sample characteristics or site-specific custom Sample table fields.  See knowledge base article How to Change a Sample Pick List's Column Contents for more information.

Initial Version:	2.3.0

Value:	Not used

Data:	The Tag property for cbxSampleID which includes the PopulateSampleListSQL token followed by the SQL statement used to populate the five-column Combo Box.  For example, the following Data field contents replaces the default Sampler column with Customer.Name:

PopulateSampleListSQL=Select SampleID, Project.Name, Location.Name, Customer.Name, Completed From qrySampleList;

## frmSampleLogin.cbxSelectForEdit.Tag

Purpose:	Allow customizing of the Sample Login screen's sample ID pick list columns by specifying other sample characteristics or site-specific custom Sample table fields.  See knowledge base article How to Change a Sample Pick List's Column Contents for more information.

Initial Version:	2.3.0

Value:	Not used

Data:	The Tag property for cbxSelectForEdit which includes the PopulateSampleListSQL token followed by the SQL statement used to populate the five-column Combo Box.  For example, the following Data field contents replaces the default Sampler column with Customer.Name:

PopulateSampleListSQL=Select SampleID, Project.Name, Location.Name, Customer.Name, Completed From qrySampleListForLoginMode;

## frmSampleResultsSetup.cbxSelectForEdit.Tag

Purpose:	Allow customizing of the Results by Sample setup screen's sample ID pick list columns by specifying other sample characteristics or site-specific custom Sample table fields.  See knowledge base article How to Change a Sample Pick List's Column Contents for more information.  Note that this option also customizes the sample ID pick list in the corresponding Results by Sample screen.

Initial Version:	2.3.0

Value:	Not used

Data:	The Tag property for cbxSelectForEdit which includes the PopulateSampleListSQL token followed by the SQL statement used to populate the five-column Combo Box.  For example, the following Data field contents replaces the default Sampler column with Customer.Name:

PopulateSampleListSQL=Select SampleID, Project.Name, Location.Name, Customer.Name, Completed From qrySampleListStandard;

## frmSampleResultsQCSetup.cbxSelectForEdit.Tag

Purpose:	Allow customizing of the QC Results Entry setup screen's sample ID pick list columns by specifying other sample characteristics or site-specific custom Sample table fields.  See knowledge base article How to Change a Sample Pick List's Column Contents for more information. Note that this option also customizes the sample ID pick list in the corresponding QC Results Entry screen.

Initial Version:	2.3.0

Value:	Not used

Data:	The Tag property for cbxSelectForEdit which includes the PopulateSampleListSQL token followed by the SQL statement used to populate the five-column Combo Box.  For example, the following Data field contents replaces the default Sampler column with Customer.Name:

PopulateSampleListSQL=Select SampleID, Project.Name, Location.Name, Customer.Name, Completed From qrySampleListQC;

## frmSampleSelect.frmSampleSelectDatasheet.SourceObject

Purpose:	Allow custom fields to be added to sample selection screens by replacing the sample selection datasheet subform with a custom version.  Note that the custom datasheet subform must trap and substitute custom version of the sample selection base queries with custom versions in NewRecordSource Property Let procedure.  See examples zfrmSampleSelectDatasheetMyField and zqrySampleSummarySelectMyField.

Initial Version:	3.0.0

Value:	Not used

Data:	The SourceObject property for frmSampleSelect’s subform control frmSampleSelectDatasheet.

## gbEmptyCustomTabDisplay

Purpose:	Enable or disable showing empty Custom tabs on the main menu, query controls, and various setup screens.  By default, empty Custom tabs are not displayed.   Note that this option is only tested at system startup.   You must exit and restart the LIMS for any change to take effect.

Initial Version:	3.0.0

Value:	0 for Disabled or -1 for Enabled

Data:	Not used

## gbFormatAnalysisResult

Purpose:	Enable or disable analysis result formatting with BDL (below detection limit), H (high), and L (low) characters. By default, formatted analysis results are enabled.   Note that this option is only tested at system startup.   You must exit and restart the LIMS for any change to take effect.

Initial Version:	2.3.0

Value:	0 for Disabled or -1 for Enabled

Data:	Not used

## gbResultValueReportFormatting

Purpose:	Enable or disable the use of analysis and QC data result value report formatting.  Beginning with version 2.3.0, the analysis and QC data type setup screens include a report format option that can be used to format result values on reports including rounding and reporting to a specified number of significant figures.  By default, result value report formatting is enabled.   Note that this option is only tested at system startup.   You must exit and restart the LIMS for any change to take effect.

Initial Version:	2.3.0

Value:	0 for Disabled or -1 for Enabled

Data:	Not used

## gsFormatAnalysisResultBDL

Purpose:	When formatted analysis results are enabled (see gbFormatAnalysisResult above), use this option to replace the default "BDL" text displayed when an analysis result value is below the detection limit.   Note that this option is only tested at system startup.   You must exit and restart the LIMS for any change to take effect.

Initial Version:	2.3.0

Value:	Not used

Data:	The text to insert in place of the result value when the value is below the detection limit (default = "BDL")

## gsFormatAnalysisResultHigh

Purpose:	When formatted analysis results are enabled (see gbFormatAnalysisResult above), use this option to replace the default " H" text appended when an analysis result value is above the warning maximum.   Note that this option is only tested at system startup.   You must exit and restart the LIMS for any change to take effect.

Initial Version:	2.3.0

Value:	Not used

Data:	The text to append to the result value (default = " H")

## gsFormatAnalysisResultLow

Purpose:	When formatted analysis results are enabled (see gbFormatAnalysisResult above), use this option to replace the default " L" text appended when an analysis result value is below the warning minimum.   Note that this option is only tested at system startup.   You must exit and restart the LIMS for any change to take effect.

Initial Version:	2.3.0

Value:	Not used

Data:	The text to append to the result value (default = " L")

## rpt*.RecordSource

Purpose:	Allow customization of any report's RecordSource property during the report's Open event procedure.  Details of report-specific implementations of this option are listed below.  This capability is implemented in procedure SysCfgOptionOnReportOpen of the LIMS Report Functions module.  Procedure HeaderFooterOnReportOpen, which all Report_Open event procedures call directly or indirectly (e.g. OnReportOpen, OnBenchSheetOpen) calls SysCfgOptionOnReportOpen.

Initial Version:	2.3.0

Value:	Not used

Data:	A valid setting of the report's RecordSource property.

## rptCustomers.RecordSource

Purpose:	Allow users to add their own "fields" to be used in Word mail merges by using token=value syntax in the Customer.Notes field.  By adding GetTokenValue( ) fields to rptCustomers' RecordSource, the report's underlying record source can include custom fields parsed from the Notes and these can be exported to an Excel template which in turn is saved as a data source for a Word mail merge file.  The Report_Open event of rptCustomers sets its RecordSource property to the contents of the Data field if this SysCfg option exists.  See knowledge base article How to Use Customer and Outside Lab Lists in a MS Word Mail Merge for more information.

Initial Version:	2.3.0

Value:	Not used

Data:	An SQL Select statement that must include all Customer table fields.  The following example adds a Salutation field parsed from Salutation=value text in the Notes field:

SELECT *, GetTokenValue([Notes] & "", "Salutation") AS Salutation FROM Customer;

## Option

Purpose:

Initial Version:	2.3.0

Value:

Data:

For more information contact:

Mountain States Consulting, LLC

970 West Broadway PMB 471

Jackson, WY 83001-9475

307-733-1442

info@msc-lims.com

www.msc-lims.com